## RiskSerializationData8 (hidden)
Written By Version | 8.3.2
Serialization Major Version | 4
Serialization Minor Version | 0
Browse Record | Display Mode | Sens Graph Type | Cond Sens Settings | Scenario Settings | Selected Scenario | Distribution Options | Distribution GS | Distribution Curves | Sens Tornado Options | Sens Tornado GS | Sens Tornado Curves | Scen Tornado Options | Scen Tornado GS | Scen Tornado Curves | Sens Spider Option | Sens Spider GS | Sens Spider Curves
#NAME? | 0 | 3 |  |  | 0 | TRUE | GF1_rK0qDwEAEwDfAAwjACcAOgBXAGsAbAB6AIgAuQDbANUAKwD//wAABAAAAAEEAAAAAAUwLjAwMAAAAAEXRGlzdHJpYnV0aW9uIENvbXBhcmlzb24BAAEBEAACAAEKU3RhdGlzdGljcwMBAQD/AQEBAQEAAQEBAAQAAAABAQEBAQABAQEABAAAAAKPAAKmAAITAAZUb3RhbDoAAAD/3BQ8AQAAAgACAA8ABlRvdGFsOgABJQEAAAIAAgDBAMsAAQEDAZqZmZmZmak/AABmZmZmZmbuPwAABQABAQEAAQEBAA== | #NAME?

## Solar
Solar Power
Pert Prob Dist
9.7022
Power
| Cumulative | Output
| Distribution | mW |  |  | Cloud | Impact
6 am - 7 am | 0.5% | 0.064935 |  |  | Cover | Output
7 am - 8 am | 3% | 0.38961 |  |  | 0% | 100%
8 am - 9 am | 6.8% | 0.88312 |  |  | 10% | 93%
9 am - 10 am | 10.6% | 1.3766 |  |  | 20% | 86%
10 am - 11am | 13.7% | 1.7792 |  |  | 30% | 79%
11 am - 12 pm | 15.4% | 2 |  |  | 40% | 72%
12 pm - 1 pm | 15.4% | 2 |  |  | 50% | 65%
1 pm - 2 pm | 13.7% | 1.7792 |  |  | 60% | 58%
2 pm - 3 pm | 10.6% | 1.3766 |  |  | 70% | 51%
3 pm - 4 pm | 6.8% | 0.88312 |  |  | 80% | 44%
4 pm - 5 pm | 3% | 0.38961 |  |  | 90% | 37%
5 pm - 6 pm | 0.5% | 0.064935 |  |  | 100% | 30%
Total | 100% | 12.987 | [5 empty] | failure rate
[8 empty] | 1 | 1 | 1 | 1
Maximum power capacity is 2 mW | [7 empty] | 65000 | 65000 | 65000 | 65000
[8 empty] | p | p | p | p
[6 empty] | Actual |  | Failure event 1 | Failure Even 2 | Failure event 3 | Failure event 4
|  |  |  | Solar |  | Output with |  | 1.5385e-05 | 1.5385e-05 | 1.5385e-05 | 1.5385e-05
| Power |  |  | Output | Solar | Temperature | Availability | 0.99998 | 0.99998 | 0.99998 | 0.99998
| Output |  | Cloud | With | Output | Correction | Av+fail=1 | 1 | 1 | 1 | 1
| mW |  | Cover | Clouds | 0 | 23.9112
6 am - 7 am | 0.064935 | 40.04% | 40.04% | 0.046737 | 0.064935 | 0.065289 |  | #NAME? | #NAME? | #NAME? | #NAME? | 0.065289 | 0.065289
7 am - 8 am | 0.38961 | 34.14% | 34.14% | 0.2965 | 0.38961 | 0.39173 |  | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | 0.39173
8 am - 9 am | 0.88312 | 34.81% | 34.81% | 0.66791 | 0.88312 | 0.88792 |  | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
9 am - 10 am | 1.3766 | 34.03% | 34.03% | 1.0487 | 1.3766 | 1.3841 |  | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
10 am - 11am | 1.7792 | 39.71% | 39.71% | 1.2846 | 1.7792 | 1.7889 |  | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
11 am- - 12 pm | 2 | 33.39% | 33.39% | 1.5325 | 2 | 2.0109 |  | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
12 pm - 1 pm | 2 | 34.11% | 34.11% | 1.5225 | 2 | 2.0109 |  | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
1 pm - 2 pm | 1.7792 | 40.93% | 40.93% | 1.2695 | 1.7792 | 1.7889 |  | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
2 pm - 3 pm | 1.3766 | 34.19% | 34.19% | 1.0472 | 1.3766 | 1.3841 |  | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
3 pm - 4 pm | 0.88312 | 40.58% | 40.58% | 0.63229 | 0.88312 | 0.88792 |  | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
4 pm - 5 pm | 0.38961 | 43.21% | 43.21% | 0.27177 | 0.38961 | 0.39173 |  | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
5 pm - 6 pm | 0.064935 | 50.73% | 50.73% | 0.041878 | 0.064935 | 0.065289 |  | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
[5 empty] | Total: | 13.0577 | [6 empty] | #NAME?